## Slide 1: Magnetically Coupled Circuits
Notes: Asas

## Slide 2: Disciplines applying EM EM devices
electric machines,
electromechanical energy conversion,
radar meteorology,
remote sensing,
satellite communications,
bioelectromagnetics,
electromagnetic interference and compatibility,
plasmas,
ﬁber optics
electric motors and generators,
transformers,
autotransformers,
electromagnets,
magnetic levitation,
antennas,
radars,
microwave ovens,
microwave dishes,
Superconductors
electrocardiograms.
Words learning

## Slide 3: Outline
Mutual Inductance
Analysis of Circuits with Mutual Inductance
The Transformer

## Slide 4: Mutual Inductance
Notes: Asas

## Slide 5: Recap of Self Inductance
2. The flux produced by a current is proportional to the current.
1. According to Faraday’s law, the voltage v induced in the coil is proportional to the number of turns N and the time rate of change of the magnetic ﬂux .
(For long straight helix tube, )

## Slide 6: Recap of Self Inductance
3. Self Inductance
4. Self Inductance depends on the permeability , the turns N and the size ( l, S ) of the coil.

## Slide 7: Mutual Inductance
L1 and L2 are in close proximity with each other and one of them is open circuited
A current i1 at L1 produces B1,
B1 links only L1  11,
B1 links both L1 and L2  12
The flux in coil 1
self inductance
in coil 1
M21mutual inductance of coil 2 with respect to coil 1
L2 is open circuited
Notes: Asasa

## Slide 8: Mutual Inductance
(b) A current i2 at L2 produces B2,
B2 links only L2  22,
B2 links both L1 and L2  21
The flux in coil 2
self inductance in coil 2
M12 mutual inductance of coil 1 with respect to coil 2
L1 is open circuited
(c)
Notes: Asasa

## Slide 9: Mutual Inductance
Conclusion:
Mutual inductance is the ability of one inductor to induce a voltage across a neighboring inductor, measured in henrys (H).
(1) The inductors or coils are in close proximity.
(2) The circuits are driven by time-varying sources.
(3) M is always a positive quantity.
(4) The choice of the correct polarity for Mdi/dt is made by examining the orientation or particular way in which both coils are physically wound and applying Lenz’s law in conjunction with the right-hand rule.

## Slide 10: Polarity of Mutual Voltage
Combined Mutual and Self-induced Voltage
(No terminal is open circuited)
(a)According to current directions and right-hand rule, we can decide the total flux in each inductor.
(b)According to current and voltage reference, we can decide the sign ‘+’ or ‘-’ in Faraday’s law.

## Slide 11: Polarity of Mutual Voltage
Combined Mutual and Self-induced Voltage



## Slide 12: Dot Convention
If a current enters the dotted terminal of one coil, the reference polarity of the mutual voltage in the second coil is positive at the dotted terminal of the second coil.

## Slide 13: Dot Convention
Current entering the undotted terminal of one coil produces a voltage that is sensed positively at the undotted terminal of the second coil.

## Slide 14: Dot Convention
Physical Basis of Dot Convention

When two currents enter the dotted terminals on each coil, they produce the flux in the same direction.

## Slide 15: Dot Convention
Example 13.1
i2
v1
v2
Find v1 if i2=5sin45t A and i1=0 ;
Find v2 if i1= -8e-t A and i2=0 .
(a)
(b)

## Slide 16: Dot Convention
Express v1 and v2 with i1 and i2.
Example

## Slide 17: Mutual Inductance in phasor Form

## Slide 18: Model of Mutual Inductance in phasor Form
Model of mutual inductance
Fundamental analysis method:
Find the equivalent circuit

## Slide 19: Model of Mutual Inductance in phasor Form
Example
, find
Solution
Notes: 自己没有电流的电感线圈两端也可能有电位差，由互感产生。

## Slide 20: Homework
1, 2，3

## Slide 21: Connections of coupled inductors
Series-aiding connection
Series-opposing connection
Series connection

## Slide 22: Connections of coupled inductors
Same direction
reverse
Coefficient of Coupling
Parallel connection

## Slide 23: The Coupling Coefficient
 k =1 : perfectly coupled
 k > 0.5 : tightly coupled
 k < 0.5 : loosely coupled
The coupling coefficient is a measure of the magnetic coupling between two coils. It depends on the closeness of the two coils, their core, their orientation, and their windings

## Slide 24: Energy Considerations
i2
v1
v2
Demonstration of M12 = M21 by Energy
0→t1 : i1=0→I1, i2=0
t1→t : i1=I1, i2=0→I2
Using , calculate the stored energy in coupled inductors at time t when i1(t)=I1, i2(t)=I2
Step1:
Step2:

## Slide 25: Energy Considerations
i2
v1
v2
step2, t1→t2 : i2=I2, i1= 0→ I1
If the initial and final conditions are the same, the stored energy must be equal.
Now set step1, 0→t1 : i2=0→I2, i1=0
get

## Slide 26: Energy Considerations
Conclusion
i2
v1
v2
For another dot convention case, get
Rewrite in the form:
Since , therefor

## Slide 27: Analysis of Circuits with Mutual Inductance
Notes: Asas

## Slide 28: The Linear Transformer
Linear Transformer
Transformer : a four-terminal device with two (or more) magnetically coupled coils.
Primary winding (coil, circuit), secondary winding
Linear transformer :
  coils are wound on a magnetically linear material (air, plastic, wood, etc.)
  sometimes called air-core transformer.
  k<<1
  Applications : radio frequency circuits.
Notes: 17 is redundant? With 21 and 25-28

## Slide 29: 1. Systematic Mesh analysis  loop analysis method
Find the phasor ratio of .
Solve the equations for I2
Example

## Slide 30: 1. Systematic Mesh analysis  loop analysis method
Calculate the mesh currents .
Example

## Slide 31: 2. Elimination of Mutual Inductance
Dotted terminals are connected
Dotted terminals are not connected
Substitute T-shape circuit with a circuit without mutual inductance

## Slide 32: Ex：
Find i1 and i2 by Elimination of Mutual Inductance
After finding the equivalent circuit, we have mesh equations:
R1=R2=1Ω, L1=2H, L2=1H
Solution
Notes: 练习：用互感消去法,再次计算: 互感次级短路，求初级等效电感>=0，证明Mmax=L1*L2

## Slide 33
Reflected Impedance
Define
Reflected impedance
3. Analysis by Reflected Impedance

## Slide 34
Input Impedance
Primary equivalent circuit:
3. Analysis by Reflected Impedance
 Secondary equivalent circuit:

## Slide 35: Power on Reflected Impedance
Reflected Resistance and Reflected Reactance
R1r: Reflected Resistance
X1r: Reflected Reactance,  opposite reactance to X22
The power dissipation of secondary equals to that of R1r .

## Slide 36: Ex
XM =1Ω,Find I1,I2, the source’s supplying power and absorbing power in secondary loop.
(a)
(b)
(c)
Supply power
Absorbing power in secondary loop
or

## Slide 37: Ex
XM =1Ω ,Find I1,I2 by Thevenin’s theory and absorbing P of 2nd loop.
Notes: 练习：用反映阻抗法,再次计算: 互感次级短路，求初级等效电感>=0，证明Mmax=L1*L2

## Slide 38
Calculate the input impedance, I1 and power of ZL,
Example
Given
Solution

## Slide 39
Calculate the input impedance, I1 and power of ZL,
Example
Given
Solution

## Slide 40: Homework
4, 5，7，9，10

## Slide 41: Ideal Transformers
Notes: Asas

## Slide 42: Ideal Transformers
Ideal Transformer
 Coils have very large reactance (L1, L2, M →∞ )
  Coupling coefﬁcient is equal to unity (k = 1).
  Primary and secondary coils are lossless (R1 = 0 = R2).
  Well-designed iron-core transformer,
  tightly coupled, very large reactance of coils,
  very small wire resistance.
Real Transformer

## Slide 43: Ideal transformer and coupled inductance
coils
coupled inductance
k=1
Perfectly coupled transformer
ideal transformer
No loss
i
1
i
2
v
1
v
2

11
=

21
I
II

22
=

12
N1
N2
L1
L2

## Slide 44: Perfectly Coupled transformer (v1~v2)
L1 and L2 are not infinite, with k=1
∵k=1
Conclusion:

## Slide 45
Turns Ratio
The self-inductance of a coil is proportional to N2.
Turns ratio:
n >1 : step-up transformer
n <1 : step-down transformer
Perfectly Coupled transformer

## Slide 46: Perfectly Coupled transformer (i1~i2)
k=1
integral
where
i
1
1'
L
1
2'
2
1
2
/
:
1
L
L
i
1
i
2
-ni
2
i
0
v
1
v
2
Ideal transformer

## Slide 47: Ideal Transformers
Voltage relationship
1:n
Current relationship
1:n

## Slide 48: Ideal Transformers
1:n
1:n
Lossless Element
Use rms phasors for sinusoidal steady-state circuit :
Instantaneous power

## Slide 49: Ideal Transformers
Reflected Impedance

## Slide 50: Ideal Transformers
Equivalent Circuits
1:n

## Slide 51: Ideal Transformers
Equivalent Circuits
1:n

## Slide 52
Determine the turn ratio of the matching transformer so that load ZL can draw maximum average power.
ZL gets max power.
When
Example
1:n

## Slide 53
Example
Find the power absorbed by 10Ω resistor. 120V is the maximal amplitude of the voltage source.
Mesh equation:
Substitute into mesh equations,

## Slide 54: Autotransformer
Find the input impedance Zi .
Given
For autotransformer, k=1
Example
Solution

## Slide 55
Find
(1) Find k
(2) Draw the equivalent circuit with ideal transformer
Example
Solution
(3)Draw the primary equivalent circuit
RL

## Slide 56
Alternative method：Reflected Impedance
RL

## Slide 57
Example
Find ZL=？ PLmax
PLmax=?
Find Thevinin equivalence
Solution
Vrms

## Slide 59: Real transformer
If loss is not 0, there is R.
If it works at high frequency, there is C.

## Slide 60: Homework
5.12, 5.13, 5.17, 5.19
Notes: P543, 13.6